| SAFETY MEETING QUIZ |
| --- |
| | Name: |  | Date: |  | | --- | --- | --- | --- | | Safety Topic: | *V3-10 Home & Holiday – Portable Generators* | | | |

1. The hazards associated with using a portable generator include
   1. shocks and electrocution.
   2. carbon monoxide.
   3. fire.
   4. all of the above.
2. When in use a generator should be placed
   1. outdoors, in an adequately ventilated area.
   2. indoors, or in an enclosed space.
   3. outdoors but close to an open window or door.
   4. close to where people may be gathering.
3. Overloading a generator can lead to overheating which can create a hazard.
   1. carbon monoxide poisoning
   2. vibration
   3. fire
   4. noise
4. Attaching a generator directly to a building electrical system without a properly installed transfer switch can energize wiring systems for great distances.
   1. True
   2. False
5. Do not use a portable generator in conditions.
   1. cool and breezy
   2. rainy or wet
   3. sunny and warm
   4. cloudy or overcast

| SAFETY MEETING QUIZ |
| --- |
| | ANSWER KEY | | | --- | --- | | Safety Topic: | *V3-10 Home & Holiday – Portable Generators* | |

1. The hazards associated with using a portable generator include
   1. shocks and electrocution.
   2. carbon monoxide.
   3. fire.
   4. all of the above.
2. When in use a generator should be placed
   1. outdoors, in an adequately ventilated area.
   2. indoors, or in an enclosed space.
   3. outdoors but close to an open window or door.
   4. close to where people may be gathering.
3. Overloading a generator can lead to overheating which can create a hazard.
   1. carbon monoxide poisoning
   2. vibration
   3. fire
   4. noise
4. Attaching a generator directly to a building electrical system without a properly installed transfer switch can energize wiring systems for great distances.
   1. True
   2. False
5. Do not use a portable generator in conditions.
   1. cool and breezy
   2. rainy or wet
   3. sunny and warm
   4. cloudy or overcast