| SAFETY MEETING QUIZ |
| --- |
| | Name: |  | Date: |  | | --- | --- | --- | --- | | Safety Topic: | *V4-12 Office Safety – Fire Extinguisher Types* | | | |

1. Fire extinguishers are classified by the
   1. color of their canister.
   2. type or class of fire they are intended to be used on.
   3. the elements of the fire triangle.
   4. how fast they can put out a fire.
2. Portable fire extinguishers are labeled with color-coded letters and/or pictograms that indicate the type of fire they are designed to extinguish.
   1. True
   2. False
3. The most common type of portable fire extinguisher is the
   1. multi-purpose dry chemical fire extinguisher.
   2. wet chemical fire extinguisher.
   3. clean agent fire extinguisher.
   4. water mist fire extinguisher.
4. An air-pressurized water (APW) fire extinguisher can be used on
   1. any type of fire.
   2. class B and C fires.
   3. energized electrical fires.
   4. class A fires only.
5. A fire extinguisher can be used on Class B and C fires.
   1. multi-purpose dry chemical
   2. carbon dioxide (CO2)
   3. clean agent
   4. any of the above

| SAFETY MEETING QUIZ |
| --- |
| | ANSWER KEY | | | --- | --- | | Safety Topic: | *V4-12 Office Safety – Fire Extinguisher Types* | |

1. Fire extinguishers are classified by the
   1. color of their canister.
   2. type or class of fire they are intended to be used on.
   3. the elements of the fire triangle.
   4. how fast they can put out a fire.
2. Portable fire extinguishers are labeled with color-coded letters and/or pictograms that indicate the type of fire they are designed to extinguish.
   1. True
   2. False
3. The most common type of portable fire extinguisher is the
   1. multi-purpose dry chemical fire extinguisher.
   2. wet chemical fire extinguisher.
   3. clean agent fire extinguisher.
   4. water mist fire extinguisher.
4. An air-pressurized water (APW) fire extinguisher can be used on
   1. any type of fire.
   2. class B and C fires.
   3. energized electrical fires.
   4. class A fires only.
5. A fire extinguisher can be used on Class B and C fires.
   1. multi-purpose dry chemical
   2. carbon dioxide (CO2)
   3. clean agent
   4. any of the above